|  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |
| --- | --- | --- | --- |
|  | Template of Job List 作业活动清单模板 |  |  |
|  | Template No. | HYBN-T7-08-2001-2024-2 | Page 1 of 2 |

The following is the body of the template.

以下为模板正文。

|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Job List 作业活动清单 |  |  |  |  |  |
|  |  | Record No. |  | HYBN-T6-**-2001-0016-2024 |  |  | Page 2 of 2 |
| Department 部门 |  |  | Utilities Department 公用工程部 |  |  | Unit (Area) 单元（区域） | 1Circulating water field 一循环水场 |
| Identified by 辨识人 |  |  | Wangliang,ZhangHaoran,Liangbin,Liguangyuan,Lvyingqiang,Yinzujun,PanWentao,Jiangruibin,Dou、Jianqiang, Zhaoxueren and team members 王亮、张浩然、梁斌、李光远、吕应强、尹祖君、潘文涛、蒋瑞兵、窦建强、赵学仁及班组人员 |  |  | Date 日期 | 2025年2月10日 |
| S/N 序号 | Main job 主要作业活动 |  |  |  | Main procedures of job 作业活动主要步骤 |  |  |
| 001 | Sodium hypochlorite discharge 次氯酸钠卸料 |  |  |  | 1.Wearing PPE穿戴PPE |  |  |
|  |  |  |  |  | 2.Arrangements for guardianship安排监护 |  |  |
|  |  |  |  |  | 3.Check the discharge pump, pipeline, valve should be intact, no leakage检查卸料泵、管路、阀门应完好，无泄漏 |  |  |
|  |  |  |  |  | 4.Slowly fill the tank while metering缓慢注入储罐中同时做好计量 |  |  |
| 002 | Crank机泵盘车 |  |  |  | 1. Internal and external linkage内外操联系 |  |  |
|  |  |  |  |  | 2. Cut manually切手动 |  |  |
|  |  |  |  |  | 3. Determining operational status确定运行状态 |  |  |
|  |  |  |  |  | 4. 2-3 turns of the coil盘车2-3圈 |  |  |
| 003 | Switch pump 切泵 |  |  |  | 1. Check to confirm检查确认 |  |  |
|  |  |  |  |  | 2. Start the backup pump启备用泵 |  |  |
|  |  |  |  |  | 3.Switch pump切泵 |  |  |
|  |  |  |  |  | 4.. Stop the original operating pump停原运行泵 |  |  |
| 004 | Manual backwashing by-pass filter 手动反洗旁滤过滤器 |  |  |  | 1. Cut manually切手动 |  |  |
|  |  |  |  |  | 2. Valve automatic operation on site现场自动操作阀门 |  |  |
|  |  |  |  |  | 3. Bypass filter backwash旁滤器反洗 |  |  |
|  |  |  |  |  | 4.Restoration of automatic control恢复自动控制 |  |  |
| 005 | Take a sample 取样 |  |  |  | 1.Clean the sampling bottle清洗取样瓶 |  |  |
|  |  |  |  |  | 2. Sampling water circulation取样水流通 |  |  |
|  |  |  |  |  | 3. Sampling取样 |  |  |
|  |  |  |  |  | 4. Labeling贴标签 |  |  |
| 006 | Lubricant replacement 更换润滑油 |  |  |  | 1. Stop the pump and hit the manual停泵后打手动 |  |  |
|  |  |  |  |  | 2. Drain the original lubricant放空原润滑油 |  |  |
|  |  |  |  |  | 3. Refilling加注 |  |  |
|  |  |  |  |  | 4. Resumption of clean-up site恢复清理现场 |  |  |
| 007 | Machine pump inspection and maintenance 设备检维修 |  |  |  | 1. Pump out of service机泵停运 |  |  |
|  |  |  |  |  | 2.Power outages停电 |  |  |
|  |  |  |  |  | 3. System isolation ,System replacement, evacuation系统隔离、系统置换、排空 |  |  |
|  |  |  |  |  | 4.Arranging for overhaul安排检修 |  |  |
| 008 | Unit inspection 装置巡检 |  |  |  | 1.Inspection instruments are fully worn巡检工器具佩带齐全 |  |  |
|  |  |  |  |  | 2. Inspections by designated routes按指定路线巡检 |  |  |
|  |  |  |  |  | 3.Roving inspection of each equipment and facility对各设备设施巡回检查 |  |  |
|  |  |  |  |  | 4.Report problems in a timely manner发现问题及时汇报处理 |  |  |

Descriptions: 1. List major jobs for each process unit (area) which is considered as the assessment unit.

说明：1以工艺单元（区域）为评价单元，列出单元主要作业活动。

2 Simple jobs need to be more than 4 steps, while complex jobs need to be more than 8 steps.

简单作业活动要求分为4步以上，复杂作业活动要求分为8步以上。

3 This form is used for JHA risk assessment and shall be consistent with the No. in JHA form.

此表用于JHA法风险评价，JHA表编号要对应起来。