|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Medium and Above Risks Control List 中度及以上风险控制清单 |  |  |  |  |  |  |  |
|  |  | Record No. |  | HYBN-T7- -2007- -2024 |  |  |  | Page 1 of 2 |  |
| Department 部门 |  |  |  |  |  |  |  |  |  |
| S/N 序号 | Job or equipment/facility 作业活动或设备设施 |  | Hazard source 风险源 |  | Possible accidents and consequences 可能导致的事故及后果 | Level of risk 风险等级 | Measures to reduce and control risk 风险消减及控制措施 |  | Level of residual risk 剩余风险等级 |
| 001 | Sodium hypochlorite discharge 次氯酸钠卸料 |  | Leakage in discharge line ### 卸料管线泄漏 |  | olluted environment 污染环境 | 9(III) | Strengthen the inspection of pipelines and joints before unloading卸料前加强管线、接头处检查 |  | 4(II) |
| 008 | Device inspection装置巡检 |  | Safety hazards were not reported in time安全隐患未及时汇报 |  | Safety incident property loss安全事故、财产损失 | 9(III) | Strictly implement the inspection system and establish a hidden danger rectification account严格执行巡检制度，建立隐患整改台账 |  | 4(I) |
|  |  |  |  |  |  |  |  |  | II |
|  |  |  |  |  |  |  |  |  | II |
| 编制： 年 月 日 |  |  |  |  |  |  |  |  |  |
| 审核： 年 月 日 |  |  |  |  |  |  |  |  |  |
| 批准： 年 月 日 |  |  |  |  |  |  |  |  |  |