|  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Job List 作业活动清单 |  |  |  |  |
|  | Record No. | HYBN-T6-**-2001-***-2024 |  |  | Page 2 of 2 |
| Department 部门 | Utilities department 公用工程部 |  |  | Unit (Area) 单元（区域） | Water supply fire-fighting booster pump station 给水消防加压泵站 |
| Identified by 辨识人 | Wangliang,ZhangHaoran,Liangbin,Liguan Wangliang,ZhangHaoran,Yuyapeng、Liangbin,Liguangyuan,Lvyingqiang,Yinzujun,PanWentao,Jiangruibin,Dou Jianqiang, Zhaoxueren and team members 王亮、张浩然、于亚鹏、梁斌、李光远、吕应强、尹祖君、潘文涛、蒋瑞兵、窦建强、赵学仁及班组人员 |  |  | Date 日期 | Feb 10,2025 2025年2月10日 |
| S/N 序号 | Main job 主要作业活动 |  | Main procedures of job 作业活动主要步骤 |  |  |
| 001 | Diesel fuel 加注柴油 |  | - Lead the vehicle to the scene引领车辆至现场 |  |  |
|  |  |  | - Check the vehicle oil discharge port检查车辆卸油口 |  |  |
|  |  |  | - Normal filling正常加注 |  |  |
|  |  |  | - Clean up the scene清理现场 |  |  |
|  |  |  | - Guide the vehicle away引导车辆离开 |  |  |
| 002 | Crank 盘车 |  | - Internal and external operation contact内外操联系 |  |  |
|  |  |  | - Manual switching切手动 |  |  |
|  |  |  | - Determine the operating status确定运行状态 |  |  |
|  |  |  | - Turn 2-3 laps盘车2-3圈 |  |  |
| 003 | Cut off pump 切泵 |  | - Check and confirm检查确认 |  |  |
|  |  |  | - Start the standby pump启备用泵 |  |  |
|  |  |  | - Cut off pump切泵 |  |  |
|  |  |  | - Stop the original operation pump停原运行泵 |  |  |
| 004 | Sampling 取样 |  | - Clean the sampling bottle清洗取样瓶 |  |  |
|  |  |  | - Clean the sampler清洗取样器 |  |  |
|  |  |  | - Sampling取样 |  |  |
|  |  |  | - Labeling贴标签 |  |  |
| 005 | Changing the lubrication oil 更换润滑油 |  | - Switch to manual after stopping the pump停泵后打手动 |  |  |
|  |  |  | - Remove the original lubrication oil放空原润滑油 |  |  |
|  |  |  | - Fill加注 |  |  |
|  |  |  | - Resume operation and clean up the scene恢复清理现场 |  |  |
| 006 | Machine pump inspection and maintenance 机泵检维修 |  | - The pump is out of service机泵停运 |  |  |
|  |  |  | - Power failure停电 |  |  |
|  |  |  | - System replacement and emptying系统置换、排空 |  |  |
|  |  |  | - System isolation系统隔离 |  |  |
|  |  |  | - Arrange for maintenance安排检修 |  |  |
| 007 | Valve well switching of valve 阀门井开关阀门 |  | - Open the manhole cover and ventilate naturally打开井盖，自然通风 |  |  |
|  |  |  | - The gas in the detection well is qualified检测井内气体合格 |  |  |
|  |  |  | - Set up special guardianship设专人监护 |  |  |
|  |  |  | - Personnel go down to operate the valve人员下井操作阀门 |  |  |
| 008 | Device inspection 装置巡检 |  | - Complete inspection tools and equipment巡检工器具佩带齐全 |  |  |
|  |  |  | - Inspect according to the designated route按指定路线巡检 |  |  |
|  |  |  | - Patrol inspections of equipment and facilities对各设备设施巡回检查 |  |  |
|  |  |  | - Report and troubleshoot problems in time发现问题及时汇报处理 |  |  |
| 009 | High-altitude inspection 高处巡检 |  | - Check the mental state of the inspectors and weather conditions巡检人员精神状态、天气条件确认 |  |  |
|  |  |  | - Hold the handrails when going up the stairs上楼梯时扶好扶手 |  |  |
|  |  |  | - Check and confirm the facilities on the tank top对罐顶各部分设施检查确认 |  |  |
|  |  |  | - If problems are found, deal with and report promptly发现问题及时处理汇报 |  |  |

Descriptions: 1. List major jobs for each process unit (area) which is considered as the assessment unit.

说明：1以工艺单元（区域）为评价单元，列出单元主要作业活动。

2 Simple jobs need to be more than 4 steps, while complex jobs need to be more than 8 steps.

简单作业活动要求分为4步以上，复杂作业活动要求分为8步以上。

3 This form is used for JHA risk assessment and shall be consistent with the No. in JHA form.

此表用于JHA法风险评价，JHA表编号要对应起来。