|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Equipment and Facilities List 设备设施清单 |  |  |  |  |  |
|  |  | Record No. |  | HYBN-T6- -2008- -2024 |  |  | Page 2 of 2 |
| Department 部门 |  |  | Utilities department 公用工程部 |  | Name of unit (area) 单元（区域）名称 | Fire and water pressure pumping station 消防及给水加压泵站 |  |
| Reviewed by 审核人 |  |  | Shishuigen 施水根 |  | Date 日期 | Feb 10,2025 2025年2月10日 |  |
| S/N 序号 | No. of SCL form SCL表编号 |  | Name of equipment/facility 设备设施名称 |  | Inspection item 检查项目 |  |  |
| 1 | 001 |  | Inspection for operation of stabilized pressure fire pump P103A/B 消防稳压泵运行机泵检查 |  | - Check whether the motor bearing grease overflows, fill in the record电机轴承润滑脂是否溢出，加注记录； 2. Check whether the motor temperature and current meet the requirements电机温度，电流是否符合要求； 3. Check whether the motor vibration value meets the requirements电机振动值是否符合要求； 4. Check whether the motor noise increases电机杂声是否增大； 5. Grease pump bearing, fill in the records机泵轴承润滑脂，加注记录； 6. check whether the machine pump bearing temperature meets the requirements机泵轴承温度是否符合要求； 7. Check whether the vibration value of the machine pump meets the requirements机泵振动值是否符合要求； 8. Check whether the pump outlet pressure is normal机泵出口压力是否正常； 9. The seal is leaking or not机封有无泄漏。 |  |  |
| 2 | 002 |  | Foam fire pump, fire pump operation pump inspection P101A P102A~C 泡沫消防泵、消防水泵运行机泵检查 |  | - Check whether the motor bearing grease overflows, fill in the record电机轴承润滑脂是否溢出，加注记录； 2. Check whether the motor temperature and current meet the requirements电机温度，电流是否符合要求； 3. Check whether the motor vibration value meets the requirements电机振动值是否符合要求； 4. Check whether the motor noise increases电机杂声是否增大； 5. Grease pump bearing, fill in the records机泵轴承润滑脂，加注记录； 6. Check whether the machine pump bearing temperature meets the requirements机泵轴承温度是否符合要求； 7. Check whether the vibration value of the machine pump meets the requirements机泵振动值是否符合要求； 8. Check whether the pump outlet pressure is normal机泵出口压力是否正常； 9. The seal is leaking or not机封有无泄漏。 |  |  |
| 3 | 003 |  | Foam fire pump, diesel oil pump operation pump inspection P101B P102D~F 泡沫消防柴油泵、消防水柴油泵运行机泵检查 |  | - The oil level of diesel tank is at an appropriate position柴油箱油位在合适位置； 2. Grease pump bearing, fill in the records机泵轴承润滑脂，加注记录； 3. Check whether the machine pump bearing temperature meets the requirements机泵轴承温度是否符合要求； 4. Check whether the vibration value of the machine pump meets the requirements机泵振动值是否符合要求； 5. Whether the pump outlet pressure is normal机泵出口压力是否正常。 6. Check the mechanical seal for leakage机封有无泄漏。 |  |  |
| 4 | 004 |  | Inspection of domestic water pump operation P301A~C P302A~C 生活水泵运行机泵检查 |  | - check whether the motor bearing grease is overflowing, fill in the record电机轴承润滑脂是否溢出，加注记录； 2. Check whether the temperature, current meet the requirements电机温度，电流是否符合要求； 3. Check whether the vibration value of the motor meets the requirements电机振动值是否符合要求； 4. Check whether the motor noise is increasing电机杂声是否增大。 5. Grease pump bearing, fill in the records机泵轴承润滑脂，加注记录； 6. Check whether the temperature meet the requirements机泵轴承温度是否符合要求； 7. Check whether the vibration value of the pump meets the requirements机泵振动值是否符合要求； 8. Check whether the pump outlet pressure is normal机泵出口压力是否正常； 9. Check the mechanical seal for leaks机封有无泄漏。 |  |  |
| 5 | 005 |  | Production water pump running machine pump inspection P401A~C P402A/B P403 生产水泵运行机泵检查 |  | - Check whether the motor bearing grease overflows and fill the record电机轴承润滑脂是否溢出，加注记录； 2. Check whether the motor temperature and current meet the requirements电机温度，电流是否符合要求； 3. Check whether the motor vibration value meets the requirements电机振动值是否符合要求； 4. Check whether the motor noise increases电机杂声是否增大; 5. Grease pump bearing, fill in the records机泵轴承润滑脂，加注记录； 6. Check whether the temperature of the pump bearing meet the requirements机泵轴承温度是否符合要求； 7. Check whether the motor vibration value meets the requirements机泵振动值是否符合要求； 8. Check whether the pump outlet pressure is normal机泵出口压力是否正常； 9. Check the mechanical seal for leaks机封有无泄漏。 |  |  |
| 6 | 006 |  | Firefighting tank/production tank, domestic water tank T101A/B T102A/B 消防罐/生产水罐、生活水罐 |  | - Ensure there is no crack on the surface of the tank body罐本体表面无裂纹； - Ensure the safety accessories such as liquid level gauge are intact液位计等安全附件完好； 3.Ensure the electrostatic grounding is intact静电接地完好； 4. Ensure the valve is intact and the connecting flange is free of leakage阀门完好、连接法兰无泄漏。 |  |  |

Notes:

说明:

1 List key equipment, major rotary equipment, pressure vessels and pressure pipelines inside each process unit (area) which is considered the assessment unit.

以工艺单元（区域）为评价单元，列出单元内关键设备、主要动设备、压力容器、压力管线等。

2 List major equipment and facilities, such as reactor, tower, heat exchanger and compressor.

列出主要设备设施，如反应器、塔、换热器、压缩机等。

3 This form is used for SCL risk assessment and shall be consistent with the No. in SCL form.

此表用于SCL法风险评价，SCL表编号要对应起来。