|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Job List 作业活动清单 |  |  |  |  |  |
|  |  | Record No. |  | HYBN-T6-**-2001-***-2024 |  |  | Page 2 of 2 |
| Department 部门 |  |  | Utilities Department 公用工程部 |  |  | Unit (Area) 单元（区域） | Rainwater monitoring and accident pool 雨水监控及事故池 |
| Identified by 辨识人 |  |  | Wangliang,ZhangHaoran,Liangbin,Yuyapeng、Liguangyuan,Lvyingqiang,Yinzujun,PanWentao,Jiangruibin,Dou、Jianqiang, Zhaoxueren and team members 王亮、张浩然、梁斌、于亚鹏、李光远、吕应强、尹祖君、潘文涛、蒋瑞兵、窦建强、赵学仁及班组人员 |  |  | Date 日期 | Feb 10,2025 2025年2月10日 |
| S/N 序号 | Main job 主要作业活动 |  |  |  | Main procedures of job 作业活动主要步骤 |  |  |
| 001 | Oil collection operation 收油作业 |  |  |  | 1.Check whether all parts of the skimmer are in good condition.检查收油器各部件是否完好 |  |  |
|  |  |  |  |  | 2.Put the skimmer to the designated position.将收油器放到指定位置 |  |  |
|  |  |  |  |  | 3.Normal oil collection正常收油 |  |  |
|  |  |  |  |  | 4.Put the skimmer back in place将收油器归位 |  |  |
| 002 | Clear pond 清池 |  |  |  | 1.Lower the liquid level in the tank 降低池内液位 |  |  |
|  |  |  |  |  | 2.Gas detection in the pool池内气体检测 |  |  |
|  |  |  |  |  | 3.Set up and down ladder safety ropes设置上下爬梯安全绳 |  |  |
|  |  |  |  |  | 4.Work in the pool下池作业 |  |  |
| 003 | sampling 取样 |  |  |  | 1.Clean the sampling bottle 清洗取样瓶 |  |  |
|  |  |  |  |  | 2.Clean the sampler清洗取样器 |  |  |
|  |  |  |  |  | 3.Sampling取样 |  |  |
|  |  |  |  |  | 4.Labeling贴标签 |  |  |
| 004 | Change the lubricating oil 更换润滑油 |  |  |  | 1.Manually after stopping the pump停泵后打手动 |  |  |
|  |  |  |  |  | 2.Vent the original lubricating oil放空原润滑油 |  |  |
|  |  |  |  |  | 3.Raise加注 |  |  |
|  |  |  |  |  | 4.Resume and clean up the scene恢复清理现场 |  |  |
| 005 | Machine pump inspection and maintenance 机泵检维修 |  |  |  | 1.The pump is out of service机泵停运 |  |  |
|  |  |  |  |  | 2.Power failure停电 |  |  |
|  |  |  |  |  | 3.System replacement and emptying系统置换、排空 |  |  |
|  |  |  |  |  | 4.System isolation系统隔离 |  |  |
|  |  |  |  |  | 5.Arrange for maintenance安排检修 |  |  |
| 006 | Device inspection 装置巡检 |  |  |  | 1.Complete inspection tools and equipment巡检工器具佩带齐全 |  |  |
|  |  |  |  |  | 2.Inspect according to the designated route按指定路线巡检 |  |  |
|  |  |  |  |  | 3.Tour inspections of equipment and facilities对各设备设施巡回检查 |  |  |
|  |  |  |  |  | 4.Report and deal with problems in time发现问题及时汇报处理 |  |  |
| 007 | Open and close operation of wall plate valve 壁板阀启闭操作 |  |  |  | 1.Confirm the status of the wall plate valve确认壁板阀状态 |  |  |
|  |  |  |  |  | 2.Check the grease addition of the wall plate valve检查壁板阀润滑脂添加情况 |  |  |
|  |  |  |  |  | 3.Electric control wall plate valve up and down, the test limit switch should be normal电动控制壁板阀升降，测试限位开关应正常 |  |  |
|  |  |  |  |  | 4.You can leave after the wall valve switch is in place壁板阀开关到位后方可离开 |  |  |
| 008 | 6#, 7# wall plate valve grille garbage cleaning 6#、7#壁板阀格栅垃圾清理 |  |  |  | 1.Disclosure operation risk.安全交底作业风险 |  |  |
|  |  |  |  |  | 2.The guardian should do a good job of guardianship监护人做好监护 |  |  |
|  |  |  |  |  | 3.Garbage cleaning垃圾清理 |  |  |
|  |  |  |  |  | 4.Clean up the garbage and put it in the designated location清理垃圾放指定位置 |  |  |
| 009 | Rainwater pump insulation test 雨水泵绝缘测试 |  |  |  | 1.Power failure停电 |  |  |
|  |  |  |  |  | 2.The guardian should do a good job of guardianship监护人做好监护 |  |  |
|  |  |  |  |  | 3.Insulation test绝缘测试 |  |  |
|  |  |  |  |  | 4.Power transmission送电 |  |  |

Descriptions: 1. List major jobs for each process unit (area) which is considered as the assessment unit.

说明：1以工艺单元（区域）为评价单元，列出单元主要作业活动。

2 Simple jobs need to be more than 4 steps, while complex jobs need to be more than 8 steps.

简单作业活动要求分为4步以上，复杂作业活动要求分为8步以上。

3 This form is used for JHA risk assessment and shall be consistent with the No. in JHA form.

此表用于JHA法风险评价，JHA表编号要对应起来。