|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Medium and Above Risks Control List 中度及以上风险控制清单 |  |  |  |  |  |  |  |
|  |  | Record No. |  | HYBN-T7- -2007- -2024 |  |  |  | Page 1 of 2 |  |
| Department 部门 |  |  |  | Utilities Department 公用工程部 |  |  |  |  |  |
| S/N 序号 | Job or equipment/facility 作业活动或设备设施 |  | Hazard source 风险源 |  | Possible accidents and consequences 可能导致的事故及后果 | Level of risk 风险等级 | Measures to reduce and control risk 风险消减及控制措施 |  | Level of residual risk 剩余风险等级 |
|  | Opening and closing operation of wall panel valve 壁板阀启闭操作 |  | Misoperation of wall valve 壁板阀误操作 |  | Equipment damage 设备损坏 | 9(III) | Operate carefully and slowly, strictly follow the operating procedures, and assess. 操作细心缓慢、严格操作法操作，考核。 |  | 6(II) |
|  |  |  | Abnormal limit 限位异常 |  | Equipment damage 设备损坏 | 9(III) | Before operating the valve, conduct a comprehensive inspection, operate with care and slowly, strictly follow the operation method. 阀门操作前进行全方面检查，操作细心缓慢、严格操作法操作 |  | 6(II) |
| 编制： 年 月 日 |  |  |  |  |  |  |  |  |  |
| 审核： 年 月 日 |  |  |  |  |  |  |  |  |  |
| 批准： 年 月 日 |  |  |  |  |  |  |  |  |  |