|  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |
| --- | --- | --- | --- |
|  | Template of Job List 作业活动清单模板 |  |  |
|  | Template No. | HYBN-T7-08-2001-2024-2 | Page 1 of 2 |

The following is the body of the template.

以下为模板正文。

|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Job List 作业活动清单 |  |  |  |  |  |
|  |  | Record No. |  | HYBN-T6-**-2001-***-2024 |  |  | Page 2 of 2 |
| Department 部门 |  |  | Utilities Department公用工程部 |  |  | Unit (Area) 单元（区域） | Main plant refrigeration station主厂区制冷站 |
| Identified by 辨识人 |  |  | Wangliang,ZhangHaoran,Liangbin,Liguangyuan,Lvyingqiang,Yinzujun,PanWentao,Jiangruibin,Dou Jianqiang, Zhaoxueren 王亮、张浩然、梁斌、、李光远、吕应强、尹祖君、潘文涛、蒋瑞兵、窦建强、赵学仁及班组人员 |  |  | Date 日期 | 2025年2月10日 |
| S/N 序号 | Main job 主要作业活动 |  |  |  | Main procedures of job 作业活动主要步骤 |  |  |
| 001 | Crank 盘车 |  |  |  | 1.Internal and external exercises内外操联系 |  |  |
|  |  |  |  |  | 2.Cut manually切手动 |  |  |
|  |  |  |  |  | 3.Determine running status确定运行状态 |  |  |
|  |  |  |  |  | 4.Turn 2-3 laps盘车2-3圈 |  |  |
| 002 | Machine pump switch 机泵切换 |  |  |  | 1.Check and confirm检查确认 |  |  |
|  |  |  |  |  | 2.Start the standby pump启备用泵 |  |  |
|  |  |  |  |  | 3.Cut the pump切泵 |  |  |
|  |  |  |  |  | 4.Stop the original operation pump停原运行泵 |  |  |
| 003 | Lithium bromide unit switching 溴化锂机组切换 |  |  |  | 1.Standby Inspection before starting the lithium bromide refrigerator备用溴化锂制冷机启动前检查 |  |  |
|  |  |  |  |  | 2.Stop the planLithium Bromide Refrigerator停止计划停止的溴化锂制冷机 |  |  |
|  |  |  |  |  | 3.Close the front valve of the hot water regulating valve of the lithium bromide refrigerator that is out of service关闭停运溴化锂制冷机热水调节阀前阀 |  |  |
|  |  |  |  |  | 4.Switch to standby, stop lithium bromide chiller chilled water切换备用、停用溴化锂制冷机冷冻水 |  |  |
|  |  |  |  |  | 5.Open the front valve of the hot water regulating valve of the standby lithium bromide refrigerator打开备用溴化锂制冷机热水调节阀前阀 |  |  |
|  |  |  |  |  | 6.Open the front valve of the hot water regulating valve of the standby lithium bromide refrigerator启动备用溴化锂制冷机 |  |  |
| 004 | Engine pump replacement lubricating oil 机泵更换润滑油 |  |  |  | 1.Manually after stopping the pump停泵后打手动 |  |  |
|  |  |  |  |  | 2.Vent the original lubricating oil放空原润滑油 |  |  |
|  |  |  |  |  | 3.Raise加注 |  |  |
|  |  |  |  |  | 4.Resume and clean up the scene恢复清理现场 |  |  |
| 005 | Machine pump inspection and maintenance 机泵检维修 |  |  |  | 1.The pump is out of service机泵停运 |  |  |
|  |  |  |  |  | 2.Power failure停电 |  |  |
|  |  |  |  |  | 3. System isolation System replacement and emptying系统隔离、系统置换、排空 |  |  |
|  |  |  |  |  | 4.Arrange for maintenance安排检修 |  |  |
| 006 | Device inspection 装置巡检 |  |  |  | 1.Complete inspection tools and equipment巡检工器具佩带齐全 |  |  |
|  |  |  |  |  | 2.Inspect according to the designated route按指定路线巡检 |  |  |
|  |  |  |  |  | 3.Tour inspections of equipment and facilities对各设备设施巡回检查 |  |  |
|  |  |  |  |  | 4.Report and deal with problems in time发现问题及时汇报处理 |  |  |

Descriptions: 1. List major jobs for each process unit (area) which is considered as the assessment unit.

说明：1以工艺单元（区域）为评价单元，列出单元主要作业活动。

2 Simple jobs need to be more than 4 steps, while complex jobs need to be more than 8 steps.

简单作业活动要求分为4步以上，复杂作业活动要求分为8步以上。

3 This form is used for JHA risk assessment and shall be consistent with the No. in JHA form.

此表用于JHA法风险评价，JHA表编号要对应起来。