|  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |
| --- | --- | --- | --- |
|  | Template of Job List 作业活动清单模板 |  |  |
|  | Template No. | HYBN-T7-08-2001-2024-2 | Page 1 of 2 |

The following is the body of the template.

以下为模板正文。

|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Job List 作业活动清单 |  |  |  |  |  |
|  |  | Record No. |  |  | HYBN-T6-**-2001-***-2024 |  | Page 2 of 2 |
| Department 部门 |  |  | Utilities Department 公用工程部 |  |  | Unit (Area) 单元（区域） | Hot water station 热水站 |
| Identified by 辨识人 |  |  | Wangliang,ZhangHaoran,Yuyapeng、Liangbin,Liguangyuan,Lvyingqiang,Yinzujun,PanWentao,Jiangruibin,Dou Jianqiang, Zhaoxueren and team members 王亮、张浩然、于亚鹏、梁斌、李光远、吕应强、尹祖君、潘文涛、蒋瑞兵、窦建强、赵学仁及班组人员 |  |  | Date 日期 | 2025年2月10日 |
| S/N 序号 | Main job 主要作业活动 |  |  | Main procedures of job 作业活动主要步骤 |  |  |  |
| 001 | Priming 盘车 |  |  | 1.Internal and external operation contact内外操联系 |  |  |  |
|  |  |  |  | 2.Manual switching切手动 |  |  |  |
|  |  |  |  | 3.Determine the operation status确定运行状态 |  |  |  |
|  |  |  |  | 4.Turn for 2-3 turns盘车2-3圈 |  |  |  |
| 002 | Machine pump switch 机泵切换 |  |  | 1.Check and confirm检查确认 |  |  |  |
|  |  |  |  | 2.Start the standby pump启备用泵 |  |  |  |
|  |  |  |  | 3.Cut off the pump切泵 |  |  |  |
|  |  |  |  | 4.Stop the original running pump停原运行泵 |  |  |  |
| 003 | Replace lubricating oil of pump 机泵更换润滑油 |  |  | 1.Turn on manual after stopping the pump停泵后打手动 |  |  |  |
|  |  |  |  | 2.Vent the raw lubricating oil放空原润滑油 |  |  |  |
|  |  |  |  | 3.Filling加注 |  |  |  |
|  |  |  |  | 4.Restore and clean the site恢复清理现场 |  |  |  |
| 004 | Machine pump inspection and maintenance 机泵检维修 |  |  | 1.Pump shutdown机泵停运 |  |  |  |
|  |  |  |  | 2.Power failure停电 |  |  |  |
|  |  |  |  | 3.System isolation System replacement and emptying系统隔离、系统置换、排空 |  |  |  |
|  |  |  |  | 4.Arrange for maintenance安排检修 |  |  |  |
| 005 | High-altitude inspection 高处巡检 |  |  | 1.Confirmation of mental state of patrol inspectors and weather conditions巡检人员精神状态、天气条件确认 |  |  |  |
|  |  |  |  | 2.Hold the handrail when going up the stairs上楼梯时扶好扶手 |  |  |  |
|  |  |  |  | 3.Check and confirm the facilities on the tank top对罐顶各部分设施检查确认 |  |  |  |
|  |  |  |  | 4.Timely handle and report problems found发现问题及时处理汇报 |  |  |  |
| 006 | Daily inspection 装置巡检 |  |  | 1.The patrol inspection tools and instruments shall be complete 巡检工器具佩带齐全 |  |  |  |
|  |  |  |  | 2.Patrol inspection according to the designated route按指定路线巡检 |  |  |  |
|  |  |  |  | 3.Patrol inspection of equipment and facilities对各设备设施巡回检查 |  |  |  |
|  |  |  |  | 4.Timely report and handle problems found发现问题及时汇报处理 |  |  |  |

Descriptions: 1. List major jobs for each process unit (area) which is considered as the assessment unit.

说明：1以工艺单元（区域）为评价单元，列出单元主要作业活动。

2 Simple jobs need to be more than 4 steps, while complex jobs need to be more than 8 steps.

简单作业活动要求分为4步以上，复杂作业活动要求分为8步以上。

3 This form is used for JHA risk assessment and shall be consistent with the No. in JHA form.

此表用于JHA法风险评价，JHA表编号要对应起来。