|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Medium and Above Risks Control List 中度及以上风险控制清单 |  |  |  |  |  |  |  |
|  |  | Record No. |  | HYBN-T7- -2007- -2024 |  |  |  | Page 1 of 2 |  |
| Department 部门 |  |  |  | Utilities Department公用工程部 |  |  |  |  |  |
| S/N 序号 | Job or equipment/facility 作业活动或设备设施 |  | Hazard source 风险源 |  | Possible accidents and consequences 可能导致的事故及后果 | Level of risk 风险等级 | Measures to reduce and control risk 风险消减及控制措施 |  | Level of residual risk 剩余风险等级 |
| 006 | Device inspection装置巡检 |  | Safety hazards were not reported in time安全隐患未及时汇报 |  | Safety incident property loss安全事故、财产损失 | 9(III) | Strictly implement the inspection system and establish a hidden danger rectification account严格执行巡检制度，建立隐患整改台账 |  | 4(I) |
| 005 | High altitude patrol inspection高处巡检 |  | Fall from height高处坠落 |  | Personnel injury人员伤害 | 12（III） | 1.Strictly implement operating procedures严格执行操作规程 2.High altitude patrol inspection is not allowed for poor spirit精神不佳不允许高处巡检 |  | 6（II） |
| 005 | D-101 热水缓冲罐 Hot water buffer tank |  | Confirmation of safety accessories operating status安全附件运行状态确认 |  | The pressure gauge shall not cause overpressure and negative pressure; the liquid level gauge shall not cause the high level interlock to trigger or the low level pump evacuates; the safety valve does not jump when the trigger pressure is reached, and the tank is damaged 压力表不准造成超压、负压；液位计不准造成高液位联锁触发或低液位泵抽空；达到起跳压力安全阀未起跳造，成罐损坏 | 9(III) | 1.Every Monday, day shift conduct petrol inspections at height, check pressure and liquid level with on-site and central control每周一白班高处巡检检查，现场与中控核对压力、液位 2.The safety valve shall be calibrated regularly, and the high-altitude patrol inspection of the team shall be checked regularly安全阀定期校验，定期抽查班组高处巡检情况。 |  | 4(I) |
| 编制： 年 月 日 |  |  |  |  |  |  |  |  |  |
| 审核： 年 月 日 |  |  |  |  |  |  |  |  |  |
| 批准： 年 月 日 |  |  |  |  |  |  |  |  |  |