|  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |
| --- | --- | --- | --- |
|  | Template of Equipment and Facilities List 设备设施清单模板 |  |  |
|  | Template No. | HYBN-T7-08-2008-2024-2 | Page 1 of 2 |

The following is the body of the template.

以下为模板正文。

|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Equipment and Facilities List 设备设施清单 |  |  |  |  |  |  |  |
|  |  | Record No. |  |  | HYBN-T6- -2008- -2024 |  |  | Page 2 of 2 |  |
| Department 部门 |  |  | Utilities Department公用工程部 |  |  | Name of unit (area) 单元（区域）名称 |  |  | 热水站 Hot water station |
| Reviewed by 审核人 |  |  | Shishuigen 施水根 |  |  | Date 日期 |  |  | 2025年1月10日 |
| S/N 序号 | No. of SCL form SCL表编号 |  |  | Name of equipment/facility 设备设施名称 |  |  | Inspection item 检查项目 |  |  |
| 1 | 001 |  |  | Hot water pump running pump inspection 5601-P-101A/B/C/D 热水泵运行机泵检查 |  |  | 1.Whether the motor bearing grease overflows, fill in the record电机轴承润滑脂是否溢出，加注记录 2.Whether the motor temperature and current meet the requirements电机温度，电流是否符合要求； 3.Whether the vibration value of the motor meets the requirements电机振动值是否符合要求； 4.Whether the noise of the motor has increased电机杂声是否增大。 5.Pump bearing lubricating oil and filling records机泵轴承润滑油，加注记录； 6.Whether the pump bearing temperature meets the requirements机泵轴承温度是否符合要求； 7.Whether the vibration value of the pump meets the requirements机泵振动值是否符合要求； 8.Whether the pump outlet pressure is normal机泵出口压力是否正常； 9.Check the mechanical seal for leakage.机封有无泄漏。 |  |  |
| 2 | 002 |  |  | Condensate recovery lift pump 5601-PA-101A/B 凝结水回收提升泵 |  |  | 1.Whether the motor temperature and current meet the requirements电机温度，电流是否符合要求； 2.Whether the vibration value of the motor meets the requirements电机振动值是否符合要求； 3.Lubricating grease for machine pump bearing, filling record机泵轴承润滑脂，加注记录； 4.Whether the temperature of the pump bearing meets the requirements机泵轴承温度是否符合要求； 5.Whether the vibration value of the pump meets the requirements机泵振动值是否符合要求； 6.Whether the outlet pressure of the pump is normal机泵出口压力是否正常。 |  |  |
| 3 | 003 |  |  | 5601-E-101 Steam heater 蒸汽加热器 |  |  | - Leakage of tube side and shell side管程、壳程泄漏情况； - Heat transfer efficiency;换热效率； - Whether the heater is shaking;加热器有无晃动； - The valve is intact and the connecting flange has no leakage.阀门完好、连接法兰无泄漏。 |  |  |
| 4 | 004 |  |  | 5601-D-101 Hot water buffer tank 热水缓冲罐 |  |  | 1.Whether the pressure is within the specified range压力是否在规定范围； 2.Whether the liquid level is within the specified range液位是否在规定范围； 3.Confirmation of the operating status of the safety accessories安全附件运行状态确认； 4.The valve is intact and the connecting flange has no leakage阀门完好、连接法兰无泄漏。 |  |  |
| 5 | 005 |  |  | 5601-PA-101 Condensate return to the collection tank 凝结水回收集水罐 |  |  | 1.Whether the liquid level is within the specified range液位是否在规定范围； 2.Confirm the operating status of safety accessories安全附件运行状态确认； 3.The valve is intact and the connecting flange has no leakage阀门完好、连接法兰无泄漏。 |  |  |
| 6 | 006 |  |  | Stairs, platforms 楼梯、平台 |  |  | - Whether the guardrail is shaken or corroded护栏有无晃动、锈蚀； - Whether the pedal platform is damaged or corroded踏板平台有无破损、锈蚀； - Whether the lighting lamp shakes and illuminates normally照明灯有无晃动、是否正常照明； - Whether there are objects stacked on the platform平台上有无物体堆放。 |  |  |

Notes:

说明:

1 List key equipment, major rotary equipment, pressure vessels and pressure pipelines inside each process unit (area) which is considered the assessment unit.

以工艺单元（区域）为评价单元，列出单元内关键设备、主要动设备、压力容器、压力管线等。

2 List major equipment and facilities, such as reactor, tower, heat exchanger and compressor.

列出主要设备设施，如反应器、塔、换热器、压缩机等。

3 This form is used for SCL risk assessment and shall be consistent with the No. in SCL form.

此表用于SCL法风险评价，SCL表编号要对应起来。