|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Job List 作业活动清单 |  |  |  |  |  |
|  |  | Record No. |  | HYBN-T6-**-2001-***-2024 |  |  | Page 2 of 2 |
| Department 部门 |  |  | Utilities Department 公用工程部 |  |  | Unit (Area) 单元（区域） | 2nd Circulating Water二循环水场 |
| Identified by 辨识人 |  |  | Zhang Haoran, Yu Yapeng, Deng Wentao, Zhang Yunbo, Chen Liao, Zhang Feipeng, Zhang Wenjun, Zhao Yu and team members 张浩然、于亚鹏、邓文涛、张云波、陈聊、张飞鹏、张文俊、赵宇及班组成员 |  |  | Date 日期 | 02 10,2025 2025年2月10日 |
| S/N 序号 | Main job 主要作业活动 |  |  |  | Main procedures of job 作业活动主要步骤 |  |  |
| 001 | Sodium hypochlorite discharge 次氯酸钠卸料 |  |  |  | 1.Wear PPE 1.穿戴PPE |  |  |
|  |  |  |  |  | 2.Arrange guardianship 2.安排监护 |  |  |
|  |  |  |  |  | 3.Check that the unloading pump, pipeline and valve should be intact and there is no leakage 3.检查卸料泵、管路、阀门应完好，无泄漏 |  |  |
|  |  |  |  |  | 4.Slowly inject into the tank and do the metering 4.缓慢注入储罐中同时做好计量 |  |  |
| 002 | Crank 盘车 |  |  |  | 1.Contact between panel and field operators 1.内外操联系 |  |  |
|  |  |  |  |  | 2.Switch to manual 2.切手动 |  |  |
|  |  |  |  |  | 3.Determine the operating status 3.确定运行状态 |  |  |
|  |  |  |  |  | 4.Turn 2-3 times 4.盘车2-3圈 |  |  |
| 003 | Switch pump 切泵 |  |  |  | 1.Check and confirm 1.检查确认 |  |  |
|  |  |  |  |  | 2.Start the standby pump 2.启备用泵 |  |  |
|  |  |  |  |  | 3.Switch pump 3.切泵 |  |  |
|  |  |  |  |  | 4.Stop the original operation pump 4.停原运行泵 |  |  |
| 004 | Manually backwash side filter 手动反洗旁滤过滤器 |  |  |  | 1.Switch to manual 1.切手动 |  |  |
|  |  |  |  |  | 2.Operate the valve on site 2.现场操作阀门 |  |  |
|  |  |  |  |  | 3.Bypass filter backwash 3.旁滤器反洗 |  |  |
|  |  |  |  |  | 4.Restore automatic control 4.恢复自动控制 |  |  |
| 005 | Sampling 取样 |  |  |  | 1.Clean the sampling bottle 1.清洗取样瓶 |  |  |
|  |  |  |  |  | 2.Collect sampling of water circulation 2.取样水流通 |  |  |
|  |  |  |  |  | 3.Sampling 3.取样 |  |  |
|  |  |  |  |  | 4.Labeling 4.贴标签 |  |  |
| 006 | Change the lubricating oil 更换润滑油 |  |  |  | 1.Stop pump and put to manua 1.停泵后打手动 |  |  |
|  |  |  |  |  | 2.Drain the original lubricating oil 2.放空原润滑油 |  |  |
|  |  |  |  |  | 3.Add 3.加注 |  |  |
|  |  |  |  |  | 4.Resume and clean the site 4.恢复清理现场 |  |  |

Descriptions: 1. List major jobs for each process unit (area) which is considered as the assessment unit.

说明：1以工艺单元（区域）为评价单元，列出单元主要作业活动。

2 Simple jobs need to be more than 4 steps, while complex jobs need to be more than 8 steps.

简单作业活动要求分为4步以上，复杂作业活动要求分为8步以上。

3 This form is used for JHA risk assessment and shall be consistent with the No. in JHA form.

此表用于JHA法风险评价，JHA表编号要对应起来。