|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Job List 作业活动清单 |  |  |  |  |  |
|  |  | Record No. |  |  | HYBN-T6-**-2001-***-2024 |  | Page 1 of 2 |
| Department 部门 |  |  | Utilities Department 公用工程部 |  |  | Unit (Area) 单元（区域） | Sewage treatment plant 污水处理场 |
| Identified by 辨识人 |  |  | ZhangHaoran,Liangbin,Yuyapeng,LiguangyuanLvyingqiang,Yinzujun,PanWentao,Jiangruibin,Dou Jianqiang, Zhaoxueren and team members 张浩然、梁斌、于亚鹏、李光远、吕应强、尹祖君、潘文涛、蒋瑞兵、窦建强、赵学仁及班组人员 |  |  | Date 日期 | Feb 10,2025 2025年2月10日 |
| S/N 序号 | Main job 主要作业活动 |  |  | Main procedures of job 作业活动主要步骤 |  |  |  |
| 01 | Single machine test run 单机试运 |  |  | 1.Power supply送电 |  |  |  |
|  |  |  |  | 2.Check before starting启动前检查 |  |  |  |
|  |  |  |  | 3. normal operation正常运行 |  |  |  |
|  |  |  |  | 4.Shutdown停机 |  |  |  |
| 02 | sampling 采样 |  |  | 1.Wait for the sample to flow for 1-2 minutes待取样流通1-2分钟 |  |  |  |
|  |  |  |  | 2.Rinse the sampling bottle 2 to 3 times取样瓶润洗2至3次 |  |  |  |
|  |  |  |  | 3.Sampling from the upwind站在上风向处取样 |  |  |  |
|  |  |  |  | 4.Label the sample bottle贴好样瓶标签 |  |  |  |
| 03 | Sewage accident tank pouring 污水事故罐倒罐 |  |  | 1.Check and confirm the liquid level of the accident tank事故罐液位检查确认 |  |  |  |
|  |  |  |  | 2.Inspection of tank pouring process倒罐流程检查 |  |  |  |
|  |  |  |  | 3.Start the accident water pump and adjust the tank pouring volume启动事故水泵，调整倒罐量 |  |  |  |
|  |  |  |  | 4.Confirm the level of the regulating tank调节罐液位确认 |  |  |  |
| 04 | Turning gear/crank 盘车 |  |  | 1.Contact the internal operator to cut off the pump interlock联系内操切除机泵联锁 |  |  |  |
|  |  |  |  | 2.On-site pump operation column marking "manual"现场机泵操作柱打“手动” |  |  |  |
|  |  |  |  | 3.Turn 2-3 turns in the running direction按运转方向盘车2-3圈 |  |  |  |
|  |  |  |  | 4.Contact the internal operator to put the pump into operation for interlocking联系内操投运机泵联锁 |  |  |  |
| 05 | Oil collection 收油 |  |  | 1.Confirm the level of waste oil intermediate tank污油中间罐液位确认 |  |  |  |
|  |  |  |  | 2.Slowly open the oil collecting valve”缓慢打开收油阀门 |  |  |  |
|  |  |  |  | 3.Pay close attention to the level of the waste oil intermediate tank密切关注污油中间罐液位 |  |  |  |
|  |  |  |  | 4.Close the oil collecting valve关闭收油阀门 |  |  |  |
| 06 | Dewatering of waste oil tank 污油罐脱水 |  |  | 1.Wear hydrogen sulfide alarm佩戴硫化氢报警仪 |  |  |  |
|  |  |  |  | 2.One person operates and one person monitors一人操作，一人监护 |  |  |  |
|  |  |  |  | 3.Stand at the upper air outlet for operation站在上风口操作 |  |  |  |
|  |  |  |  | 4.Slightly open the dehydration valve and slowly dehydrate微开脱水阀门，缓慢脱水 |  |  |  |
| 07 | Sludge discharge of regulating tank 调节罐排泥 |  |  | 1.Confirm the sludge concentration level油泥浓缩液位确认 |  |  |  |
|  |  |  |  | 2.Confirm the sludge discharge process from sewage regulating tank to sludge concentration tank污水调节罐排泥至油泥浓缩罐流程确认 |  |  |  |
|  |  |  |  | 3.Start the pump to discharge sludge启泵排泥 |  |  |  |
|  |  |  |  | 4.Stop pump停泵 |  |  |  |
| 08 | Dewatering of sewage tank 污水罐脱水 |  |  | 1.Wear hydrogen sulfide alarm佩戴硫化氢报警仪 |  |  |  |
|  |  |  |  | 2.One person operates and one person monitors一人操作，一人监护 |  |  |  |
|  |  |  |  | 3.Stand at the upper air outlet for operation站在上风口操作 |  |  |  |
|  |  |  |  | 4.Slightly open the dehydration valve and slowly dehydrate微开脱水阀门，缓慢脱水 |  |  |  |
| 09 | Inducing low pressure steam 引低压蒸汽 |  |  | 1.Valve inspection at battery limit of unit装置界区阀门检查 |  |  |  |
|  |  |  |  | 2.Process inspection in the unit装置内流程检查 |  |  |  |
|  |  |  |  | 3.Slowly open the steam inlet valve of the unit缓慢打开装置蒸汽进装置阀 |  |  |  |
|  |  |  |  | 4.Drainage at the end of the process流程末端排水 |  |  |  |
| 10 | High altitude patrol inspection 高处巡检 |  |  | 1.Confirm the mental state of patrol inspectors and weather conditions巡检人员精神状态、天气条件确认 |  |  |  |
|  |  |  |  | 2.Hold the handrail when going up the stairs上楼梯时扶好扶手 |  |  |  |
|  |  |  |  | 3.Check and confirm the facilities on the tank top对罐顶各部分设施检查确认 |  |  |  |
|  |  |  |  | 4.Promptly handle and report the problems found发现的问题及时处理汇报 |  |  |  |

| 11 | Sludge scraping of air flotation tank 气浮池刮渣 | 1.Confirm the liquid level of sludge intermediate tank浮渣中间罐液位确认 |
| --- | --- | --- |
|  |  | 2.Wear hydrogen sulfide alarm佩戴硫化氢报警仪 |
|  |  | 3.Inspection of sludge scraper and auxiliary sludge scraper plate and chain刮渣机及附属刮渣板、链条检查 |
|  |  | 4.Start the sludge scraper启动刮渣机 |
|  |  | 5.Raise the liquid level of reaction tank抬高反应池液位 |
|  |  | 6.Lower the liquid level of reaction tank降低反应池液位 |
|  |  | 7.Stop the sludge scraper停运刮渣机 |
| 12 | Equipment internal inspection and maintenance 设备内部检维修 | 1.Lower the liquid level and vent the tank降低液位，放空罐体 |
|  |  | 2.Apply for general maintenance work permit办理一般检修作业票 |
|  |  | 3.Add blind plate isolation加盲板隔离 |
|  |  | 4.Flushing, purging, replacement and ventilation冲洗、吹扫、置换、通风 |
|  |  | 5.Contact the laboratory for sampling analysis联系化验采样分析 |
|  |  | 6.Apply for confined space work permit and implement safety measures办理受限空间作业票，落实安全措施 |
|  |  | 7.Issue work permit and make safety technical disclosure to maintenance personnel签发作业票并对检修作业人员安全技术交底 |
|  |  | 8.Arrange for maintenance安排检修 |
| 13 | Pump inspection and maintenance 机泵检维修 | 1.Power cut停电 |
|  |  | 2.Prepare tools and instruments准备工器具 |
|  |  | 3.System isolation and replacement系统隔离、置换 |
|  |  | 4.Disassemble拆卸 |
|  |  | 5.Reassembly回装 |
| 14 | Reagent configuration 药剂配置 | 1.Fill the dissolving tank with clean water将溶药罐内加注清水 |
|  |  | 2.Start the mixer启动搅拌机 |
|  |  | 3.The reagent is added to the dissolving tank one by one in batches将药剂分批逐次加入溶药 |
|  |  | 4.Stir and dissolve for more than 30 minutes搅拌溶解30分钟以上 |
| 15 | Replace lubricating oil of pump 机泵更换润滑油 | 1.Switch the pump to standby pump机泵切至备用泵 |
|  |  | 2.Mark "manual" on the operation column操作柱上打“手动” |
|  |  | 3.Vent and replace the waste oil将废油放空并置换 |
|  |  | 4.Replace the lubricating oil according to the five fixed table按五定表内容更换润滑油 |
|  |  | 5.The pump resumes operation机泵恢复运行 |
| 16 | Biochemical blower cutter 生化鼓风机切机 | 1.Inspection before fan startup风机开机前检查 |
|  |  | 2.Fan startup operation风机开机操作 |
|  |  | 3.Fan online switching风机在线切换 |
|  |  | 4.Shutdown of original operating fan原运行风机停运 |
| 17 | Pump switching 机泵切换 | 1.Inspection before pump startup机泵开泵前确认 |
|  |  | 2.Pump startup operation机泵启动运行 |
|  |  | 3.Pump online switching机泵在线切换 |
|  |  | 4.Shutdown of original operating pump原运行机泵停运 |
| 18 | Centrifuge refueling (grease) 离心机加油（脂） | 1.Shutdown停机 |
|  |  | 2.Power cut停电 |
|  |  | 3.Repair and remove the frame body cover检维修拆机身罩子 |
|  |  | 4.Refueling (grease)加油（脂） |
| 19 | Dehydration of oil sludge scum concentration tank油泥浮渣浓缩罐脱水 | 1.Wear hydrogen sulfide alarm佩戴硫化氢报警仪 |
|  |  | 2.One person operates and one person monitors一人操作，一人监护 |
|  |  | 3.Stand at the upper air outlet for operation站在上风口操作 |
|  |  | 4.Slightly open the dehydration valve and slowly dehydrate微开脱水阀门，缓慢脱水 |

| 20 | Sludge thickening tank dewatering 污泥浓缩罐脱水 | 1.Wear hydrogen sulfide alarm佩戴硫化氢报警仪 |
| --- | --- | --- |
|  |  | 2.One person operates and one person monitors一人操作，一人监护 |
|  |  | 3.Stand at the upper air outlet for operation站在上风口操作 |
|  |  | 4.Slightly open the dehydration valve and slowly dehydrate微开脱水阀门，缓慢脱水 |
| 21 | Waste oil delivery 污油外送、高浓度废水接受 | 1.Confirmation of delivery process流程确认 |
|  |  | 2.Start pumping oil启泵送油或污泥槽对接口确认 |
|  |  | 3.Stop pump停泵或停止接受 |
|  |  | 4.Purge扫线或冲洗 |
| 22 | Sodium hypochlorite discharge 次氯酸钠卸料 | 1.Operators shall receive safety training and wear complete PPE操作人员经过安全培训，穿戴完整PPE |
|  |  | 2.Set up a warning rope in the operation area of ​​unloading hazardous chemicals卸危化品操作区域设置警戒绳 |
|  |  | 3.The unloading facilities such as unloading pump and hose are confirmed to be in good condition缷料泵、软管等卸料设施确认完好 |
|  |  | 4.The team must be supervised by a specially assigned person班组必须安排专人监护 |
|  |  | 5.Pay close attention to the liquid level during unloading to prevent tank overflow卸料时密切关注液位，以防止冒罐 |
|  |  | 6.After unloading, add clean water to the secondary sodium tank, replace the residual sodium hyposulfite in the discharge pump and hose卸料结束，向次钠桶内加清水，将卸料泵和软管内残留次钠置换干净 |
|  |  | 7.Platforms and floors with residual media shall be flushed with production water有残余介质的平台、地面等应用生产给水冲洗干净 |
| 23 | Inspection and cleaning of valve well 阀门井检查清理 | 1.Isolation隔离 |
|  |  | 2.Ventilation and replacement通风、置换 |
|  |  | 3.Gas analysis气体化验分析 |
|  |  | 4.Apply for work permit in confined space办理受限空间作业票 |
|  |  | 5.Implement safety protection measures落实安全防护措施 |
|  |  | 6.Safety technical disclosure of operators作业人员安全技术交底 |
|  |  | 7.Operators work作业人员作业 |
| 24 | Routine inspection 常规巡检 | 1.Wear PPE and prepare required tools and instruments穿戴PPE，准备所需工器具 |
|  |  | 2.Start patrol inspection开始巡检 |
|  |  | 3.Record data记录数据 |
|  |  | 4.Check data核对数据 |
|  |  | 5.Handling of problems found during patrol inspection巡检发现的问题处理 |
|  |  | 6.End of patrol inspection巡检结束 |

Descriptions: 1. List major jobs for each process unit (area) which is considered as the assessment unit.

说明：1以工艺单元（区域）为评价单元，列出单元主要作业活动。

2 Simple jobs need to be more than 4 steps, while complex jobs need to be more than 8 steps.

简单作业活动要求分为4步以上，复杂作业活动要求分为8步以上。

3 This form is used for JHA risk assessment and shall be consistent with the No. in JHA form.

此表用于JHA法风险评价，JHA表编号要对应起来。