|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Equipment and Facilities List 设备设施清单 |  |  |  |  |  |  |  |
|  |  | Record No. |  |  | HYBN-T6- -2008- -2024 |  |  | Page 2 of 2 |  |
| Department 部门 |  |  | Utilities Departmen 公用工程部 |  |  | Name of unit (area) 单元（区域）名称 |  |  | Sewage treatment plant 污水处理场 |
| Reviewed by 审核人 |  |  | Shishuigeng 施水根 |  |  | Date 日期 |  |  | Feb 10,2025 2025年2月10日 |
| S/N 序号 | No. of SCL form SCL表编号 |  |  | Name of equipment/facility 设备设施名称 |  |  | Inspection item 检查项目 |  |  |
| 1 | 001 |  |  | Sewage lift pump 污水提升泵 |  |  | 1.Confirm the conditions before the pump is put into use机泵投用前条件确认； 2.Check the operation status of the pump机泵运行状态检查； 3.Maintenance inspection维修检查。 |  |  |
| 2 | 002 |  |  | Sludge lift pump 污泥提升泵 |  |  | 1.Confirm the conditions before the pump is put into use 机泵投用前条件确认； 2.Check the operation status of the pump机泵运行状态检查； 3.Maintenance inspection.维修检查。 |  |  |
| 3 | 003 |  |  | Oil sludge scum lifting pump 油泥浮渣提升泵 |  |  | 1.Confirm the conditions before the pump is put into use 机泵投用前条件确认； 2.Check the operation status of the pump机泵运行状态检查； 3.Maintenance inspection维修检查。 |  |  |
| 4 | 004 |  |  | Waste oil lift pump 污油提升泵 |  |  | 1.Confirm the conditions before the pump is put into use 机泵投用前条件确认； 2.Check the operation status of the pump机泵运行状态检查； 3.Maintenance inspection维修检查。 |  |  |
| 5 | 005 |  |  | Biochemical blower 生化鼓风机 |  |  | 1.Confirm the conditions before the fan is put into use风机投用前条件确认； 2.Check the operation status of the fan风机运行状态检查； 3.Maintenance inspection维修检查。 |  |  |
| 6 | 006 |  |  | Centrifugal dehydrator 离心脱水机 |  |  | 1.Confirm the conditions before the centrifugal dehydrator is put into use.离心脱水机投用前条件确认； 2.Check the operation status of the centrifugal dehydrator.离心脱水机运行状态检查； 3.Maintenance inspection.维修检查。 |  |  |
| 7 | 007 |  |  | Oil water separator 油水分离器 |  |  | 1.Confirm the conditions before the oil-water separator is put into use.油水分离器投用前条件确认； 2.Check the operation status of the oil-water separator油水分离器运行状态检查； 3.Confirm the operation status of the safety accessories安全附件运行状态确认； 4.Maintenance inspection.维修检查。 |  |  |
| 8 | 008 |  |  | Cavitation air flotation device 涡凹气浮装置 |  |  | 1.Confirm the conditions before the cavitation air flotation is put into use.涡凹气浮投用前条件确认； 2.Check the operation status of the cavitation air flotation.涡凹气浮运行状态检查； 3.Confirm the operation status of the safety accessories.安全附件运行状态确认； 4.Maintenance inspection.维修检查。 |  |  |
| 9 | 009 |  |  | Dissolved air flotation device 溶气气浮装置 |  |  | 1.Confirm the conditions before the dissolved air flotation is put into use溶气气浮投用前条件确认； 2.Check the operation status of the dissolved air flotation.溶气气浮运行状态检查； 3.Confirm the operation status of the dissolved gas accessories.溶气附件运行状态确认； 4.Maintenance inspection.维修检查。 |  |  |
| 10 | 010 |  |  | Plant air buffer tank 工厂风缓冲罐 |  |  | 1.Check the condition before the plant air buffer tank is put into use.工厂风缓冲罐投用前条件检查； 2.Check the operation status of plant air buffer tank.工厂风缓冲罐运行状态检查； 3.Confirm the operation status of the safety accessories.安全附件运行状态确认； 4.Maintenance inspection.维修检查。 |  |  |
| 11 | 011 |  |  | Instrument air buffer tank 仪表风缓冲罐 |  |  | 1.Check the condition before the instrument air buffer tank is put into use.仪表风缓冲罐投用前条件检查； 2.Check the operation status of instrument air buffer tank.仪表风缓冲罐运行状态检查； 3.Confirm the operation status of the safety accessories.安全附件运行状态确认； 4.Maintenance inspection.维修检查。 |  |  |
| 12 | 012 |  |  | Waste gas fan 废气风机 |  |  | 1.Confirm the conditions before the fan is put into use.风机投用前条件确认； 2.Check the operation status of the fan.风机运行状态检查； 3.Maintenance inspection.维修检查。 |  |  |
| 13 | 013 |  |  | Mud scraper 刮泥机 |  |  | 1.Confirm the conditions before the mud scraper is put into use刮泥机投用前条件确认； 2.Check the operation status of the mud scraper刮泥机运行状态检查； 3.Maintenance and inspection of mud scraper.刮泥机维修检查。 |  |  |
| 14 | 014 |  |  | Storage tank 各类储罐 |  |  | 1.Confirm the conditions before the storage tank is put into use储罐投用前条件确认； 2.Check the operation status of the storage tank.储罐运行状态检查； 3.Confirm the operation status of the safety accessories.安全附件运行状态确认； 4.Maintenance inspection..维修检查。 |  |  |

Notes:

说明:

1 List key equipment, major rotary equipment, pressure vessels and pressure pipelines inside each process unit (area) which is considered the assessment unit.

以工艺单元（区域）为评价单元，列出单元内关键设备、主要动设备、压力容器、压力管线等。

2 List major equipment and facilities, such as reactor, tower, heat exchanger and compressor.

列出主要设备设施，如反应器、塔、换热器、压缩机等。

3 This form is used for SCL risk assessment and shall be consistent with the No. in SCL form.

此表用于SCL法风险评价，SCL表编号要对应起来。