|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Medium and Above Risks Control List 中度及以上风险控制清单 |  |  |  |  |  |  |  |
|  |  | Record No. |  | HYBN-T7- -2007- -2024 |  |  |  | Page 1 of 2 |  |
| Department 部门 |  |  |  | Utilities Department 公用工程部 |  |  |  |  |  |
| S/N 序号 | Job or equipment/facility 作业活动或设备设施 |  | Hazard source 风险源 |  | Possible accidents and consequences 可能导致的事故及后果 | Level of risk 风险等级 | Measures to reduce and control risk 风险消减及控制措施 |  | Level of residual risk 剩余风险等级 |
|  | Dewatering of waste oil tank 污油罐脱水 |  | ### When opening the dehydration valve, the opening of the dehydration valve is too large.打开脱水阀门时，脱水阀门开度过大 |  | Hydrogen sulfide poisoning 硫化氢中毒 | 9(III) | 1. Focus on the operation status of the on-site alarm device; 关注现场就地报警仪运行情况； 2.Carry the four-in-one alarm device with you at all times; 随身携带四合一报警仪； 3.Dehydration operations strictly prohibit single-person operation;脱水操作严禁单人操作； |  | 6(II) |
| 编制： 年 月 日 |  |  |  |  |  |  |  |  |  |
| 审核： 年 月 日 |  |  |  |  |  |  |  |  |  |
| 批准： 年 月 日 |  |  |  |  |  |  |  |  |  |