|  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |
| --- | --- | --- | --- |
|  | Template of Job List 作业活动清单模板 |  |  |
|  | Template No. | HYBN-T7-08-2001-2024-2 | Page 1 of 2 |

The following is the body of the template.

以下为模板正文。

|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Job List 作业活动清单 |  |  |  |  |  |
|  |  | Record No. |  | HYBN-T6-**-2001-***-2024 |  |  | Page 2 of 2 |
| Department 部门 |  |  | Utilities Department公用工程部 |  |  | Unit (Area) 单元（区域） | Lake water utilization unit 湖水利用装置 |
| Identified by 辨识人 |  |  | Wangliang,ZhangHaoran,Yuyapeng、Liangbin,Liguangyuan,Lvyingqiang,Yinzujun,PanWentao,Jiangruibin,Dou Jianqiang, Zhaoxueren and team members 王亮、张浩然、于亚鹏、梁斌、李光远、吕应强、尹祖君、潘文涛、蒋瑞兵、窦建强、赵学仁及班组人员 |  |  | Date 日期 | 2025年2月10日 |
| S/N 序号 | Main job 主要作业活动 |  |  |  | Main procedures of job 作业活动主要步骤 |  |  |
| 001 | Incline plate flushing of coagulation sediment 混凝沉淀池斜板冲洗 |  |  |  | 1.Lower the water level in the pool below to below the inclined plate降低池内水位至斜板以下 |  |  |
|  |  |  |  |  | 2. Connect the pipeline to flush the inclined plate接管线对斜板冲洗 |  |  |
|  |  |  |  |  | 3. After flushing, the pipeline shall be coiled冲洗完成管线盘好 |  |  |
|  |  |  |  |  | 4. Inject water to make the liquid level higher than the inclined plate 注水使液位高于斜板 |  |  |
| 002 | Crank 盘车 |  |  |  | 1.Contact between internal and external operators内外操联系 |  |  |
|  |  |  |  |  | 2.Switch to manual mode切手动 |  |  |
|  |  |  |  |  | 3.Determine the operating status确定运行状态 |  |  |
|  |  |  |  |  | 4.Turn for 2-3 turns盘车2-3圈 |  |  |
| 003 | Switch pump 切泵 |  |  |  | 1.Check and confirm检查确认 |  |  |
|  |  |  |  |  | 2.Start the standby pump启备用泵 |  |  |
|  |  |  |  |  | 3.Switch pump切泵 |  |  |
|  |  |  |  |  | 4.Restore automatic control停原运行泵 |  |  |
| 004 | Manual backwashing quartz sand filter 手动反洗石英砂过滤器 |  |  |  | 1.Switch to manual mode切手动 |  |  |
|  |  |  |  |  | 2.Operate the valve on site现场操作阀门 |  |  |
|  |  |  |  |  | 3.Backwash quartz sand filter石英砂过滤器反洗 |  |  |
|  |  |  |  |  | 4.Restore to automatic control恢复自动控制 |  |  |
| 005 | Sampling 取样 |  |  |  | 1. Clean the sampling bottle清洗取样瓶 |  |  |
|  |  |  |  |  | 2.Sampling water circulation取样水流通 |  |  |
|  |  |  |  |  | 3.Sampling取样 |  |  |
|  |  |  |  |  | 4.Labeling 贴标签 |  |  |
| 006 | Change the lubricating oil更换润滑油 |  |  |  | 1.Turn to manual after stopping the pump停泵后打手动 |  |  |
|  |  |  |  |  | 2.Vent the original lubricating oil放空原润滑油 |  |  |
|  |  |  |  |  | 3.Filling加注 |  |  |
|  |  |  |  |  | 4.Resume and clean up the scene恢复清理现场 |  |  |
| 007 | Pump inspection and maintenance 机泵检维修 |  |  |  | 1.Pump shutdown机泵停运 |  |  |
|  |  |  |  |  | 2.Power failure停电 |  |  |
|  |  |  |  |  | 3.System isolation System replacement and emptying系统隔离、系统置换、排空 |  |  |
|  |  |  |  |  | 4.Arrange for maintenance安排检修 |  |  |
| 008 | High altitude patrol inspection 高处巡检 |  |  |  | 1.Confirm the mental state of the patrol inspector and the weather conditions巡检人员精神状态、天气条件确认 |  |  |
|  |  |  |  |  | 2. Hold the handrails when going up the stairs上楼梯时扶好扶手 |  |  |
|  |  |  |  |  | 3. Check and confirm each part of the the tank roof对罐顶各部分设施检查确认 |  |  |
|  |  |  |  |  | 4. If problems are found, deal with and report promptly发现问题及时处理汇报 |  |  |
| 009 | Device inspection 装置巡检 |  |  |  | 1. The patrol inspection tools and instruments shall be completed巡检工器具佩带齐全 |  |  |
|  |  |  |  |  | 2. Patrol inspection according to the specified route按指定路线巡检 |  |  |
|  |  |  |  |  | 3. Patrol inspection of equipment and facilities对各设备设施巡回检查 |  |  |
|  |  |  |  |  | 4. Report and handle problems found in time. 发现问题及时汇报处理 |  |  |

Descriptions: 1. List major jobs for each process unit (area) which is considered as the assessment unit.

说明：1以工艺单元（区域）为评价单元，列出单元主要作业活动。

2 Simple jobs need to be more than 4 steps, while complex jobs need to be more than 8 steps.

简单作业活动要求分为4步以上，复杂作业活动要求分为8步以上。

3 This form is used for JHA risk assessment and shall be consistent with the No. in JHA form.

此表用于JHA法风险评价，JHA表编号要对应起来。