|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Equipment and Facilities List 设备设施清单 |  |  |  |  |  |  |  |
|  |  | Record No. |  |  | HYBN-T6- -2008- -2024 |  |  | Page 2 of 2 |  |
| Department 部门 |  |  | Utilities Department 公用工程部 |  |  | Name of unit (area) 单元（区域）名称 |  |  | Alkali residue treatment 碱渣处理 |
| Reviewed by 审核人 |  |  | Shishuiggen 施水根 |  |  | Date 日期 |  |  | Feb 10,2025 2025年2月10日 |
| S/N 序号 | No. of SCL form SCL表编号 |  |  | Name of equipment/facility 设备设施名称 |  |  | Inspection item 检查项目 |  |  |
| 1 | 001 |  |  | Alkali residue lifting pump 碱渣提升泵 |  |  | 1.Confirm the conditions before putting the pump into operation机泵投用前条件确认； 2.Inspection of pump operation status机泵运行状态检查； 3.Maintenance inspection维修检查 |  |  |
| 2 | 002 |  |  | Backwash lifting pump 反洗提升泵 |  |  | 1.Confirm the conditions before putting the pump into operation机泵投用前条件确认； 2.Inspection of pump operation status机泵运行状态检查； 3.Maintenance inspection维修检查。 |  |  |
| 3 | 003 |  |  | Waste oil lifting pump 污油提升泵 |  |  | 1.Confirm the conditions before putting the pump into operation机泵投用前条件确认； 2.Inspection of pump operation status机泵运行状态检查； 3.Maintenance inspection维修检查。 |  |  |
| 4 | 004 |  |  | Exhaust induced draft fan 废气引风机 |  |  | 1.Confirmation of conditions before fan operation风机投用前条件确认； 2.Fan operation status inspection风机运行状态检查； 3.Maintenance inspection维修检查。 |  |  |
| 5 | 005 |  |  | Plant air buffer tank 工厂风缓冲罐 |  |  | 1.Confirm the conditions before putting the factory air buffer tank into operation工厂风缓冲罐投用前条件检查； 2.Inspection on operation status of factory air buffer tank工厂风缓冲罐运行状态检查； 3.Confirmation of operation status of safety accessories安全附件运行状态确认； 4.Maintenance inspection维修检查。 |  |  |
| 6 | 006 |  |  | Sulfuric acid storage tank 硫酸储罐 |  |  | 1.Confirmation of conditions before putting into use投用前条件确认； 2.Operation status inspection运行状态检查； 3.Confirmation of operation status of safety accessories安全附件运行状态确认； 4.Maintenance inspection维修检查。 |  |  |

Notes:

说明:

1 List key equipment, major rotary equipment, pressure vessels and pressure pipelines inside each process unit (area) which is considered the assessment unit.

以工艺单元（区域）为评价单元，列出单元内关键设备、主要动设备、压力容器、压力管线等。

2 List major equipment and facilities, such as reactor, tower, heat exchanger and compressor.

列出主要设备设施，如反应器、塔、换热器、压缩机等。

3 This form is used for SCL risk assessment and shall be consistent with the No. in SCL form.

此表用于SCL法风险评价，SCL表编号要对应起来。