|  |  | Hengyi Industries Sdn Bhd 恒逸实业（文莱）有限公司 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Medium and Above Risks Control List 中度及以上风险控制清单 |  |  |  |  |  |  |  |
|  |  | Record No. |  | HYBN-T7- -2007- -2024 |  |  |  | Page 1 of 2 |  |
| Department 部门 |  |  |  | Utilities Department 公用工程部 |  |  |  |  |  |
| S/N 序号 | Job or equipment/facility 作业活动或设备设施 |  | Hazard source 风险源 |  | Possible accidents and consequences 可能导致的事故及后果 | Level of risk 风险等级 | Measures to reduce and control risk 风险消减及控制措施 |  | Level of residual risk 剩余风险等级 |
|  | Switch air compressor 空压机切换 |  | Grid fluctuations 电网波动 |  | Production process fluctuations or unplanned shutdowns 生产工艺波动或非计划停工 | 9(III) | Contact the electrical dispatcher and dispatcher in advance before starting the machine, and start the machine after receiving the confirmation reply. 启机前提前联系电调及调度，待确认回复后启机切换 |  | 6(II) |
| 编制： 年 月 日 |  |  |  |  |  |  |  |  |  |
| 审核： 年 月 日 |  |  |  |  |  |  |  |  |  |
| 批准： 年 月 日 |  |  |  |  |  |  |  |  |  |